1 General information relevant to evaluation project

| Type of Ex device to be evaluated | Applicant | Fare clic o toccare qui per immettere il testo. |
| --- | --- | --- |
| ☐ Ex Equipment ☐ Ex component ☐ Ex Assembly ☐Other Fare clic o toccare qui per immettere il testo. | Manufacturer | Fare clic o toccare qui per immettere il testo. |
|  | Others (if any) | Fare clic o toccare qui per immettere il testo. |
|  | Product | Fare clic o toccare qui per immettere il testo. |
|  | Model | Fare clic o toccare qui per immettere il testo. |
|  | Project Ref. (report) No. Client ID – project number – certification module | Fare clic o toccare qui per immettere il testo. |
|  | Year | Fare clic o toccare qui per immettere il testo. |
|  | Location of testing (if applicable) | Fare clic o toccare qui per immettere il testo. |
|  | Location of visual inspection | ☐ manufacturing site ☐ off-site |
|  | In cases of off-site inspection | ☐ physically inspection ☐ remote inspection |
|  | Location of installation (if applicable) | Fare clic o toccare qui per immettere il testo. |
|  | Name of assigned evaluator(s) | Fare clic o toccare qui per immettere il testo. |
|  | Date of concluding assessment result and report | Fare clic o toccare qui per immettere il testo. |

2 summary statement of findings

| Compliant Product | The product is fully compliant and no deficiencies were identified. In this case: - The electric panel, machinery or plant will be labelled as approved and tested. - A survey, test report or compliance report will be prepared and issued. |
| --- | --- |
| Non-compliant Product, made compliant during the inspection. | The identified non conformities can be resolved on site during the inspection: - Every identified corrective action is completed and verified by the NOBEL CERT Notified Body inspector before leaving the inspection site. - The electric panel, machinery or plant will be labelled as approved and tested. - A field evaluation report will be prepared and issued. |
| Non-compliant Product, Client must identify resolutions and provide documental evidences of the solutions. | The identified minor non conformities which don’t compromise the product compliance, but that can-not be resolved on site. In this case: - Every non-compliance must be solved and ABOVE ALL must be provided written evidence of the non-compliance resolution. - Regarding minor non compliances, photographic evidences or the agreed documentation can be a sufficient measure, if field evaluation inspector agrees. In this case the panel, machine or system can be labeled as approved. - A field evaluation report, test report or compliance report will be prepared and issued, BUT ONLY ON THE BASIS OF THE EVIDENCE OF NON-COMPLIANCES RESOLUTION. |
| Non-compliant Product, further inspection needed. | The non conformities identified are serious and compromise the test/prove/certification and could not be immediately solved, additional tests shall be performed. In this case: - A new quote will be prepared if more test and/or a second inspection are required. - The product won’t be labelled/approved until all the non-conformities are solved, all open issues are completed and verified by NOBEL CERT notified body. New quote required for additional tests. New quote required for additional inspection. Attached non-conformity report No.: |

3. Conditions of Acceptability and harmonized specifications applicable to the product

This is the assessment report of the product Fare clic o toccare qui per immettere il testo.,

This report addresses only the product described in the report, as the product existed at the time of the inspection.

| Standard applied | Title of Standard | Project reference / Report No |
| --- | --- | --- |
| ☐ EN IEC 60079-0 | Explosive atmospheres Part 0: Equipment General requirements |  |
| ☐ EN 60079-1 | Explosive atmospheres - Part 1: Equipment protection by flameproof enclosures "d" |  |
| ☐ EN 60079-2 | Equipment protection by pressurized enclosure “p” |  |
| ☐ EN 60079-6 | Explosive atmospheres - Part 6: Equipment protection by liquid immersion “o” |  |
| ☐ EN 60079-7 | Explosive atmospheres - Part 7: Equipment protection by increased safety "e" |  |
| ☐ EN 60079-11 | Explosive atmospheres - Part 11: Equipment protection by intrinsic safety "i" |  |
| ☐ EN 60079-13 | Explosive atmospheres – Part 13: Equipment protection by pressurized room “p” and artificially ventilated room "v” |  |
| ☐ EN 60079-14 | Explosive atmospheres – Part 14: Electrical installations design, selection and erection |  |
| ☐ EN 60079-15 | Equipment protection by type of protection “n” |  |
| ☐ EN 60079-18 | EN 60079-18 Explosive atmospheres - Part 18: Equipment protection by encapsulation "m" |  |
| ☐ EN 60079-28 | Explosive atmospheres - Part 28: Protection of equipment and transmission systems using optical radiation |  |
| ☐ EN 60079-31 | EN 60079-31 Equipment dust ignition protection by enclosure "t" |  |
| ☐ EN ISO 80079-36 | ISO 80079-36: Explosive atmospheres — Part 36: Non-electrical equipment for explosive atmospheres — Basic method and requirements |  |
| ☐ EN ISO 80079-37 | ISO 80079-37: Explosive atmospheres — Part 37: Non-electrical equipment for explosive atmospheres — non-electrical type of protection constructional safety ''c'', control of ignition sources ''b'', liquid immersion ''k |  |

# 4 PRODUCT DESCRIPTION/ EQUIPMENT INFORMATION

## 4.1 Equipment identification / nameplate

Equipment under evaluation consists the following rating:

| Manufacturer of equipment |  |  |
| --- | --- | --- |
| Product name |  |  |
| Model |  |  |
| Serial number(s), if applicable |  |  |
| Description |  |  |
| Voltage |  | Vac |
| Phase |  |  |
| Frequency |  | Hz |
| Total Load Current |  | A |
| Enclosure Environmental Type |  |  |
| Short circuit current rating |  | kA rms sym at 480Vac |
| Short circuit current rating of overcurrent protection device |  | kA rms sym at 120 Vac |
| Field Wiring Diagram |  |  |

| Category | ☐ Category 1 |  | ☒ Category 2 | ☐ Category 3 |
| --- | --- | --- | --- | --- |
| Ambient temperature |  | Ta= -Fare clic o toccare qui per immettere il testo.°C to +Fare clic o toccare qui per immettere il testo.°C |  |  |

| ☐ Liquid, vapor and gas |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Gas group | ☐ IIA |  | ☐ IIB |  | ☐IIB+H2 |  | ☐IIC |  |
| Temperature class | ☐ T1 | ☐T2 |  | ☐ T3 | ☐ T4 | ☐ T5 |  | ☐ T6 |

| ☐ Combustible gas or Fiber |  |  |  |
| --- | --- | --- | --- |
| Dust group | ☐ IIIA | ☐ IIIB | ☐ IIIC |
| Maximum temperature | Tmax=Fare clic o toccare qui per immettere il testo.°C |  |  |

# Determination of conformity

| IEC 60079-14 |  |  |  |  |
| --- | --- | --- | --- | --- |
| Clause |  | Requirement – Test | Result – Remark | Verdict |
| 1 |  | Scope |  |  |
| 2 |  | Normative references |  |  |
| 3 |  | Terms and definitions |  |  |
| 4 |  | General |  |  |
| 4.1 |  | General requirements |  |  |
| 4.2 |  | Documentation |  |  |
| 4.3 |  | Initial inspection |  |  |
| 4.4 |  | Assurance of conformity of equipment |  |  |
| 4.4.1 |  | Equipment with certificates according to IEC standards |  |  |
| 4.4.1.1 |  | General |  |  |
| 4.4.1.2 |  | IEC standards |  |  |
| 4.4.2 |  | Equipment without certificates according to IEC standards |  |  |
| 4.4.3 |  | Selection of repaired, second hand or existing equipment |  |  |
| 4.5 |  | Qualifications of personnel |  |  |
| 5 |  | Selection of equipment |  |  |
| 5.1 |  | Information requirements |  |  |
| 5.2 |  | Zones |  |  |
| 5.3 |  | Relationship between equipment protection levels (EPLs) and zones |  |  |
| 5.4 |  | Selection of equipment according to EPLs |  |  |
| 5.4.1 |  | General |  |  |
| 5.4.2 |  | Relationship between EPLs and types of protection |  |  |
| 5.4.3 |  | Equipment for use in locations requiring EPL “Ga” or “Da” |  |  |
| 5.4.4 |  | Equipment for use in locations requiring EPL “Gb” or “Db” |  |  |
| 5.4.5 |  | Equipment for use in locations requiring EPL “Gc” or “Dc” |  |  |
| 5.5 |  | Selection according to equipment grouping |  |  |
| 5.6 |  | Selection according to the ignition temperature of the gas, vapour or dust and ambient temperature |  |  |
| 5.6.1 |  | General |  |  |
| 5.6.2 |  | Gas or vapour |  |  |
| 5.6.3 |  | Dust |  |  |
| 5.6.3.1 |  | General |  |  |
| 5.6.3.2 |  | Temperature limitations because of the presence of dust clouds |  |  |
| 5.6.3.3 |  | Temperature limitation because of presence of dust layers |  |  |
| 5.6.3.4 |  | Unavoidable dust layers |  |  |
| 5.7 |  | Selection of radiating equipment |  |  |
| 5.7.1 |  | General |  |  |
| 5.7.2 |  | Ignition process |  |  |
| 5.8 |  | Selection of ultrasonic equipment |  |  |
| 5.8.1 |  | General |  |  |
| 5.8.2 |  | Ignition process |  |  |
| 5.9 |  | Selection to cover external influences |  |  |
| 5.10 |  | Selection of transportable, portable and personal equipment |  |  |
| 5.10.1 |  | General |  |  |
| 5.10.2 |  | Transportable and portable equipment |  |  |
| 5.10.3 |  | Personal equipment |  |  |
| 5.11 |  | Rotating electrical machines |  |  |
| 5.11.1 |  | General |  |  |
| 5.11.2 |  | Environmental Factors for “Ex” machine installation |  |  |
| 5.11.3 |  | Power and accessory connections, grounding |  |  |
| 5.11.4 |  | Motors fed from a converter supply |  |  |
| 5.11.5 |  | Switching motors above 1kV |  |  |
| 5.11.5.1 |  | General |  |  |
| 5.11.5.2 |  | Overvoltages resulting from switching operations |  |  |
| 5.12 |  | Luminaires |  |  |
| 5.13 |  | Plugs and socket outlets |  |  |
| 5.13.1 |  | General |  |  |
| 5.13.2 |  | Specific requirements for explosive dust atmospheres |  |  |
| 5.13.3 |  | Location |  |  |
| 5.14 |  | Cells and batteries |  |  |
| 5.14.1 |  | Charging of secondary cells and batteries |  |  |
| 5.14.2 |  | Ventilation |  |  |
| 5.15 |  | RFID tags |  |  |
| 5.15.1 |  | General |  |  |
| 5.15.2 |  | Passive RFID tags |  |  |
| 5.15.3 |  | Mounting RFID tags |  |  |
| 5.16 |  | Gas detection equipment |  |  |
| 6 |  | Protection from dangerous (incendive) sparking |  |  |
| 6.1 |  | Light metals as construction materials |  |  |
| 6.2 |  | Danger from live parts |  |  |
| 6.3 |  | Danger from exposed and extraneous conductive parts |  |  |
| 6.3.1 |  | General |  |  |
| 6.3.2 |  | TN type of system earthing |  |  |
| 6.3.3 |  | TT type of system earthing |  |  |
| 6.3.4 |  | IT type of system earthing |  |  |
| 6.3.5 |  | SELV and PELV systems |  |  |
| 6.3.6 |  | Electrical separation |  |  |
| 6.3.7 |  | Non Ex electrical equipment above hazardous areas |  |  |
| 6.4 |  | Potential equalization |  |  |
| 6.4.1 |  | General |  |  |
| 6.4.2 |  | Temporary bonding |  |  |
| 6.5 |  | Static electricity |  |  |
| 6.5.1 |  | General |  |  |
| 6.5.2 |  | Avoidance of a build-up of electrostatic charge on construction and protecting parts for locations requiring EPL “Ga”, “Gb” and “Gc” |  |  |
| 6.5.3 |  | Avoidance of a build-up of electrostatic charge on construction and protecting parts for locations requiring EPL “Da”, “Db” and “Dc” |  |  |
| 6.6 |  | Lightning protection |  |  |
| 6.7 |  | Electromagnetic radiation |  |  |
| 6.7.1 |  | General |  |  |
| 6.7.2 |  | Radio frequency received in hazardous areas |  |  |
| 6.8 |  | Cathodically protected metallic parts |  |  |
| 6.9 |  | Ignition by optical radiation |  |  |
| 7 |  | Electrical protection |  |  |
| 8 |  | Switch-off and electrical isolation |  |  |
| 8.1 |  | General |  |  |
| 8.2 |  | Switch-off |  |  |
| 8.3 |  | Electrical isolation |  |  |
| 9 |  | Cables and wiring systems |  |  |
| 9.1 |  | General |  |  |
| 9.2 |  | Aluminium conductors |  |  |
| 9.3 |  | Cables |  |  |
| 9.3.1 |  | General |  |  |
| 9.3.2 |  | Cables for fixed installations |  |  |
| 9.3.3 |  | Flexible cables for fixed installations (excluding intrinsically safe circuits) |  |  |
| 9.3.4 |  | Flexible cables supplying transportable and portable equipment (excluding intrinsically safe circuits) |  |  |
| 9.3.5 |  | Single insulated wires (excluding intrinsically safe circuits) |  |  |
| 9.3.6 |  | Overhead lines |  |  |
| 9.3.7 |  | Avoidance of damage |  |  |
| 9.3.8 |  | Cable surface temperature |  |  |
| 9.3.9 |  | Resistance to flame propagation |  |  |
| 9.4 |  | Conduit systems |  |  |
| 9.5 |  | Additional requirements |  |  |
| 9.6 |  | Installation requirements |  |  |
| 9.6.1 |  | Circuits traversing a hazardous area |  |  |
| 9.6.2 |  | Terminations |  |  |
| 9.6.3 |  | Unused cores |  |  |
| 9.6.4 |  | Openings in walls |  |  |
| 9.6.5 |  | Passage and collection of flammables |  |  |
| 9.6.6 |  | Accumulation of dust |  |  |
| 10 |  | Cable entry systems and blanking elements |  |  |
| 10.1 |  | General |  |  |
| 10.2 |  | Selection of cable glands |  |  |
| 10.3 |  | Connections of cables to equipment |  |  |
| 10.4 |  | Additional requirements for entries other than Ex “d”, Ex “t” or Ex “nR” |  |  |
| 10.5 |  | Unused openings |  |  |
| 10.6 |  | Additional requirements for type of protection “d” – Flameproof enclosures |  |  |
| 10.6.1 |  | General |  |  |
| 10.6.2 |  | Selection of cable glands |  |  |
| 10.7 |  | Additional requirements for type of protection “t” – Protection by enclosure |  |  |
| 10.8 |  | Additional requirements for type of protection “nR” – Restricted breathing enclosure |  |  |
| 11 |  | Rotating electrical machines |  |  |
| 11.1 |  | General |  |  |
| 11.2 |  | Motors with type of protection “d” – Flameproof enclosures |  |  |
| 11.2.1 |  | Motors with a converter supply |  |  |
| 11.2.2 |  | Reduced-voltage starting (soft starting) |  |  |
| 11.3 |  | Motors with type of protection “e” – Increased safety |  |  |
| 11.3.1 |  | Mains-operated |  |  |
| 11.3.2 |  | Winding temperature sensors |  |  |
| 11.3.3 |  | Machines with rated voltage greater than 1 kV |  |  |
| 11.3.4 |  | Motors with converter supply |  |  |
| 11.3.5 |  | Reduced-voltage starting (soft starting) |  |  |
| 11.4 |  | Motors with type of protection “p” and “pD” – Pressurized enclosures |  |  |
| 11.4.1 |  | Motors with a converter supply |  |  |
| 11.4.2 |  | Reduced-voltage starting (soft starting) |  |  |
| 11.5 |  | Motors with type of protection “t” – Protection by enclosures supplied at varying frequency and voltage |  |  |
| 11.5.1 |  | Motors with a converter supply |  |  |
| 11.5.2 |  | Reduced-voltage starting (soft starting) |  |  |
| 11.6 |  | Motors with type of protection “nA” – Non-sparking |  |  |
| 11.6.1 |  | Motors with converter supply |  |  |
| 11.6.2 |  | Reduced-voltage starting (soft starting) |  |  |
| 11.6.3 |  | Machines with rated voltage greater than 1 kV |  |  |
| 12 |  | Luminaires |  |  |
| 13 |  | Electric heating systems |  |  |
| 13.1 |  | General |  |  |
| 13.2 |  | Temperature monitoring |  |  |
| 13.3 |  | Limiting temperature |  |  |
| 13.4 |  | Safety device |  |  |
| 13.5 |  | Electrical trace heating systems |  |  |
| 14 |  | Additional requirements for type of protection “d” – Flameproof enclosures |  |  |
| 14.1 |  | General |  |  |
| 14.2 |  | Solid obstacles |  |  |
| 14.3 |  | Protection of flameproof joints |  |  |
| 14.4 |  | Conduit systems |  |  |
| 15 |  | Additional requirements for type of protection “e” – Increased safety |  |  |
| 15.1 |  | General |  |  |
| 15.2 |  | Maximum dissipated power of terminal box enclosures |  |  |
| 15.3 |  | Conductor terminations |  |  |
| 15.4 |  | Maximum number of conductors in relation to the cross-section and the permissible continuous current |  |  |
| 16 |  | Additional requirements for types of protection “i” – Intrinsic safety |  |  |
| 16.1 |  | General |  |  |
| 16.2 |  | Installations to meet the requirements of EPL “Gb” or “Gc” and “Db” or “Dc” |  |  |
| 16.2.1 |  | Equipment |  |  |
| 16.2.2 |  | Cables |  |  |
| 16.2.2.1 |  | General |  |  |
| 16.2.2.2 |  | Electrical parameters of cables |  |  |
| 16.2.2.3 |  | Earthing of conducting screens |  |  |
| 16.2.2.4 |  | Cable armour bonding |  |  |
| 16.2.2.5 |  | Installation of cables and wiring |  |  |
| 16.2.2.5.1 |  | General |  |  |
| 16.2.2.5.2 |  | Conductors |  |  |
| 16.2.2.5.3 |  | Unused cores in cables |  |  |
| 16.2.2.6 |  | Marking of cables |  |  |
| 16.2.2.7 |  | Cables carrying more than one intrinsically safe circuit |  |  |
| 16.2.2.8 |  | Types of cables carrying more than one intrinsically safe circuit and applicable fault considerations |  |  |
| 16.2.3 |  | Earthing of intrinsically safe circuits |  |  |
| 16.2.4 |  | Verification of intrinsically safe circuits |  |  |
| 16.2.4.1 |  | General |  |  |
| 16.2.4.2 |  | Descriptive system document |  |  |
| 16.2.4.3 |  | Intrinsically safe circuits with only one source of power |  |  |
| 16.2.4.4 |  | Intrinsically safe circuits with more than one associated apparatus |  |  |
| 16.3 |  | Installations to meet the requirements of EPL “Ga” or “Da” |  |  |
| 16.4 |  | Simple apparatus |  |  |
| 16.5 |  | Terminal boxes |  |  |
| 16.5.1 |  | General |  |  |
| 16.5.2 |  | Terminal boxes with only one intrinsically safe circuit |  |  |
| 16.5.3 |  | Terminal boxes with more than one intrinsically safe circuit |  |  |
| 16.5.4 |  | Terminal boxes with non-intrinsically safe and intrinsically safe circuits |  |  |
| 16.5.5 |  | Plugs and sockets used for external connections |  |  |
| 16.6 |  | Special applications |  |  |
| 17 |  | Additional requirements for pressurized enclosures |  |  |
| 17.1 |  | General |  |  |
| 17.2 |  | Type of protection “p” |  |  |
| 17.2.1 |  | General |  |  |
| 17.2.2 |  | Ducting |  |  |
| 17.2.3 |  | Action to be taken on failure of pressurization |  |  |
| 17.2.3.1 |  | General |  |  |
| 17.2.3.2 |  | Equipment without an internal source of release |  |  |
| 17.2.3.2.1 |  | General |  |  |
| 17.2.3.2.2 |  | Automatic switch-off |  |  |
| 17.2.3.2.3 |  | Alarm |  |  |
| 17.2.3.3 |  | Equipment with an internal source of release |  |  |
| 17.2.4 |  | Multiple pressurized enclosures with a common safety device |  |  |
| 17.2.5 |  | Purging |  |  |
| 17.2.6 |  | Protective gas |  |  |
| 17.3 |  | Type of protection “pD” |  |  |
| 17.3.1 |  | Sources of protective gas |  |  |
| 17.3.2 |  | Automatic switch-off |  |  |
| 17.3.3 |  | Alarm |  |  |
| 17.3.4 |  | Common source of protective gas |  |  |
| 17.3.5 |  | Switching on electrical supply |  |  |
| 17.4 |  | Rooms for explosive gas atmosphere |  |  |
| 17.4.1 |  | Pressurized rooms |  |  |
| 17.4.2 |  | Analyser houses |  |  |
| 18 |  | Additional requirements for type of protection “n” |  |  |
| 18.1 |  | General |  |  |
| 18.2 |  | “nR” equipment |  |  |
| 18.3 |  | Combinations of terminals and conductors for general connection and junction boxes |  |  |
| 18.4 |  | Conductor terminations |  |  |
| 19 |  | Additional requirements for type of protection “o”– Oil immersion |  |  |
| 19.1 |  | General |  |  |
| 19.2 |  | External connections |  |  |
| 20 |  | Additional requirements for type of protection “q” – Powder filling |  |  |
| 21 |  | Additional requirements for type of protection “m” – Encapsulation |  |  |
| 22 |  | Additional requirements for type of protection “op” – Optical radiation |  |  |
| 23 |  | Additional requirements for type of protection “t” – Protection by enclosure |  |  |
| Annex A (normative) |  | Knowledge, skills and competencies of responsible persons, operatives/technicians and designers |  |  |
| A.1 |  | Scope |  |  |
| A.2 |  | Knowledge and skills |  |  |
| A.2.1 |  | Responsible persons |  |  |
| A.2.2 |  | Operatives/technicians (selection and erection) |  |  |
| A.2.3 |  | Designers (design and selection) |  |  |
| A.3 |  | Competencies |  |  |
| A.3.1 |  | General |  |  |
| A.3.2 |  | Responsible persons |  |  |
| A.3.3 |  | Operatives/technicians |  |  |
| A.3.4 |  | Designers |  |  |
| A.4 |  | Assessment |  |  |
| Annex B (informative) |  | Safe work procedure guidelines for explosive gas atmospheres |  |  |
| Annex C (normative) |  | Initial inspection – Equipment-specific inspection schedules |  |  |
| Annex D (informative) |  | Electrical installations in extremely low ambient temperature |  |  |
| Annex E (informative) |  | Restricted breathing test for cables |  |  |
| Annex F (informative) |  | Installation of electrical trace heating systems |  |  |
| Annex G (normative) |  | Potential stator winding discharge risk assessment – Ignition risk factors |  |  |
| Annex H (normative) |  | Verification of intrinsically safe circuits with more than one associated apparatus with linear current/voltage characteristics |  |  |
| H.1 |  | General |  |  |
| H.2 |  | Intrinsic safety with level of protection “ib” |  |  |
| H.3 |  | Intrinsic safety with level of protection “ic” |  |  |
| Annex I (informative) |  | Methods of determining the maximum system voltages and currents in intrinsically safe circuits with more than one associated apparatus with linear current/voltage characteristics (as required by Annex H) |  |  |
| Annex J (informative) |  | Determination of cable parameters |  |  |
| Annex K (normative) |  | Additional requirements for type of protection “op” – Optical radiation |  |  |
| K.1 |  | General |  |  |
| K.2 |  | Inherently safe optical radiation “op is” |  |  |
| K.2.1 |  | General |  |  |
| K.2.2 |  | Change of cross sections |  |  |
| K.2.3 |  | Coupler |  |  |
| K.3 |  | Protected optical radiation “op pr” |  |  |
| K.3.1 |  | General |  |  |
| K.3.2 |  | Radiation inside enclosures |  |  |
| K.4 |  | Optical radiation interlocked with optical breakage “op sh” |  |  |
| Annex L (informative) |  | Examples of dust layers of excessive thickness |  |  |
| Annex M (informative) |  | Hybrid mixtures |  |  |

APPENDIX A: Additional Normative requirements from IECEx ExTAG DS 2015/001A

| IECEx ExTAG DS 2015/001A |  |  |  |  |
| --- | --- | --- | --- | --- |
| Number |  | Requirement – Test | Result – Remark | Verdict |
| Req. No. 1 |  | An IECEx CoC is associated with equipment according to the IEC 60079 or ISO 80079 series of Standards. |  |  |
|  |  | If an item of equipment is out of the scope of the IEC 60079 series for electrical equipment or the ISO 80079 series for mechanical equipment an IECEx CoC cannot be issued. |  |  |
|  |  | An IECEx CoC cannot be issued to show compliance with IEC 60079-14 alone. As a minimum, an IECEx CoC covering Equipment Assemblies must show compliance with the General Requirements Standard, IEC 60079-0, regarding assembly and interconnection of the items involved. |  |  |
| Req. No. 2 |  | The “General Product Information” field of the ExTR supporting the IECEx CoC must clearly explain and detail the rationale of applying the various Clauses of IEC 60079-14 and clearly state which Clauses of IEC 60079-14 have been covered and the results of the relevant evaluations/tests. |  |  |
|  |  | It is not possible to issue an ExTR for the installation of equipment in the end-users site. The latter may use IECEx Certified Service providers covered for this activity. |  |  |
| Req. No. 3 |  | An IECEx CoC that includes reference to IEC 60079-14 shall state either within the IECEx CoC “Equipment” field, or as an attachment to the IECEx CoC, the specific Clauses of IEC 60079-14 that have been satisfied along with a schedule of Equipment including ALL items that comprise the Equipment assembly (including accessories such as entry devices, cable glands, blanking elements, breathing and draining devices) are to be listed within the IECEx CoC or as an attachment to the IECEx CoC with reference to the associated CoC number along with the relevant marking and identification of the applied standards, including the standard edition |  |  |
| Req. No. 4 |  | ExCBs may only issue IECEx CoCs according to this decision sheet for Equipment Assemblies where the Ex protection techniques incorporated in the Equipment Assembly are covered under the ExCB’s scope of IECEx Acceptance. |  |  |
|  |  | In line with the resource requirements of ISO/IEC 17025 and 17065, ExCBs and ExTLs shall identify within their organization those personnel that have been assessed as possessing the competence to evaluate the interconnection of parts according to IEC 60079-14. A completed scope extension declaration form, ExMC/251B/Q shall be completed by all ExCBs seeking to issue Unit Verification Certification according to this DS. |  |  |
|  |  | In accordance with IECEx 02 rules and OD 009, IECEx Certified Equipment Scheme, Procedures for the Issuing of IECEx Certificates of Conformity, IECEx Test Reports and IECEx Quality Assessment Reports ExCBs, ExCBs can only accept applications for assemblies where the ExCB has all Ex protection techniques, associated with the Equipment Assembly, within their scope. |  |  |
| Req. No. 5 |  | Items to be considered when evaluating Equipment Assemblies for compliance by an ExCB with the relevant requirements of IEC 60079-14 shall include, as a minimum: - That the applicant for IECEx CoC has clearly identified the EPL for the Equipment Assembly, along with the overall Group and T rating (including information on multiple EPLs), refer to IEC 60079-14 for relationship between EPLs and zones; |  |  |
|  |  | - A Schedule of equipment, assembly drawings, wiring diagrams and other relevant information (such as IS calculations) that define the items of equipment and materials comprising the final Ex equipment assembly; |  |  |
|  |  | - Items of Ex equipment that comprise the Equipment Assembly are to be covered by an IECEx CoC or shall be individually assessed by the ExCB and an IECEx CoC issued for that item; |  |  |
|  |  | - The Ex protection of each item of Ex equipment comprising the Equipment Assembly shall be suitable for the declared EPL in item a) above; |  |  |
|  |  | - The T rating of each item of Ex equipment and its Grouping comprising the Equipment Assembly shall be suitable for the overall declared T rating in item a) and Grouping; |  |  |
|  |  | - Any completed cabling between individual equipment in the assembly shall be appropriate and in accordance with IEC 60079-14 and that it shall be provided with appropriate (and correctly assembled) cable entry devices. This shall be identified and recorded in the ExTR and Certificate to enable future maintenance. Note that cabling external to the assembly is not included; |  |  |
|  |  | - Other requirements from IEC 60079-14 that are relevant to the particular equipment, for example that the mounting of flameproof enclosures takes account of the minimum obstruction distances for flange gaps in accordance with IEC 60079-14; |  |  |
|  |  | - The final Equipment Assembly shall be provided with the required documents such as the instructions for use according to Clause 30 of IEC 60079-0; and |  |  |
|  |  | - Ensure that all specific conditions of safe use/schedule of limitations of Certificates covering Ex equipment comprising the Equipment Assembly have been considered. Any residual conditions not fully complied with are to be detailed in the Equipment Assembly CoC for the end user to manage, including details concerning inspection. |  |  |
|  |  | Details of the evaluation of the above items a) to h) shall be recorded in the ExTR as referenced within the IECEx CoC. |  |  |
| Req. No. 6 |  | The Equipment Assembly shall be marked with, and the IECEx CoC shall mention, a single marking covering the complete assembly, including the symbol “Ex” and any important information regarding the safe use of the assembly, in addition to other mandatory requirements of the standard IEC 60079-0. For example : Ex IIC T4 Gb Tamb : -20°C to +85°C {Serial Number} {IECEx Certificate Number} along with a statement that the individual protection types are given in the marking and CoCs for the incorporated equipment. |  |  |

Measurement Section, including Additional Narrative Remarks (as deemed applicable)

ANNEX and PHOTOS

The following annex are attached to the document

| Document content | Ref. Document | issued |
| --- | --- | --- |

| PHOTOS |  |
| --- | --- |

| Other considerations |  |
| --- | --- |