
Page 5 of 5
 


	IEC 60079-29-0

	Clause
	Requirement – Test 
	Result – Remark 
	Verdict

	

	1
	Scope

	

	2
	Normative references

	

	3
	Terms and definitions

	

	4
	General requirements

	

	4.1
	Overview

	
	
	
	

	4.2
	Design

	4.2.1
	General
	
	

	4.2.2
	Indicators and means of indication

	4.2.2.1
	Indicators
	
	

	4.2.2.2
	Visual indicators
	
	

	4.2.2.3
	Display and other outputs for indication
	
	

	4.2.2.4
	Suppression of indication
	
	

	4.2.3
	Alarm signals

	4.2.3.1
	General
	
	

	4.2.3.2
	Type FL-Group I portable equipment indicating up to a volume fraction of 5 % methane
	
	

	4.2.3.3
	Type FL-Group II portable equipment indicating up to 100 % LFL
	
	

	4.2.4
	Fault signals
	
	

	4.2.5
	Special state indication
	
	

	4.2.6
	Adjustments
	
	

	4.2.7
	Battery-powered equipment
	
	

	4.2.8
	Software-controlled equipment

	4.2.8.1
	General
	
	

	4.2.8.2
	Software
	
	

	4.2.8.3
	Data transmission
	
	

	4.2.8.4
	Self-Test routines
	
	

	4.2.8.5
	Functional concept
	
	

	
	
	
	

	4.3
	Marking
	
	

	

	4.4
	Instructions
	
	

	

	5
	Test methods

	
	

	5.1
	General
	
	

	

	5.2
	General requirements for tests

	5.2.1
	General
	
	

	5.2.2
	Preparation of equipment before testing (all Types excluding FL-OP and TX-OP)

	5.2.2.1
	General
	
	

	5.2.2.2
	Mask for calibration and test
	
	

	5.2.3
	Preparation of equipment before testing Types FL-OP and TX-OP)
	

	5.2.3.1
	General
	
	

	5.2.3.2
	Calibration and test
	
	

	5.2.3.3
	Mask for beam attenuation
	
	

	5.2.3.4
	Shutter for blockage tests
	
	

	5.2.3.5
	Plane mirror
	
	

	5.2.3.6
	Gas simulation filter
	
	

	5.2.3.7
	Operating distance
	
	

	

	5.3
	Normal conditions for test

	5.3.1
	General
	
	

	5.3.2
	Test gas(es)
	

	5.3.2.1
	General
	
	

	5.3.2.2
	Type FL
	
	

	5.3.2.3
	Type O2
	
	

	5.3.2.4
	Type TX
	
	

	5.3.3
	Flow rate for test gases
	
	

	5.3.4
	Power supply
	
	

	5.3.5
	Temperature
	
	

	5.3.6
	Pressure
	
	

	5.3.7
	Humidity
	
	

	5.3.8
	Acclimation time 
	
	

	5.3.9
	Orientation
	
	

	5.3.10
	Communications options
	
	

	

	5.4
	Tests

	5.4.1
	General
	
	

	5.4.2
	Unpowered storage
	
	

	5.4.3
	Vibration

	5.4.3.1
	Test equipment
	
	

	5.4.3.2
	Procedure
	
	

	5.4.4
	Drop
	
	

	5.4.5
	Calibration kit
	
	

	5.4.6
	Linearity

	5.4.6.1
	Equipment for detection of a single gas
	
	

	5.4.6.2
	Equipment for detection of more than one gas (Linearity to each other gas(es) for Type FL-Group II)
	
	

	5.4.7
	Alarm set-point(s)

	5.4.7.1
	General
	
	

	5.4.7.2
	Rising concentration
	
	

	5.4.7.3
	Falling concentration (Type O2-DE)
	
	

	5.4.7.4
	Falling concentration (Type FL with an upper limit of measurement above the UFL)
	
	

	5.4.8
	Stability

	5.4.8.1
	General
	
	

	5.4.8.2
	Externally powered equipment
	
	

	5.4.8.3
	Battery-powered equipment
	
	

	5.4.9
	Pressure

	5.4.9.1
	General
	
	

	5.4.9.2
	Type O2-DE
	
	

	5.4.9.3
	Type O2-IN and Type TX
	
	

	5.4.9.4
	Type FL
	
	

	5.4.10
	Poisons and other gases

	5.4.10.1
	Type FL-Group I
	
	

	5.4.10.1.1
	Poisons
	
	

	5.4.10.1.2
	Other gases
	
	

	5.4.10.2
	Type O2

	5.4.10.2.1
	General
	
	

	5.4.10.2.2
	Equipment with electrochemical sensors
	
	

	5.4.10.2.3
	Equipment with zirconium dioxide (ZrO2) sensors
	
	

	5.4.11
	Temperature

	5.4.11.1
	General
	
	

	5.4.11.2
	Time to alarm or alarm indication (equipment with electrochemical sensors only)
	
	

	5.4.11.2.1
	Type O2-DE
	
	

	5.4.11.2.2
	All other Types of equipment
	
	

	5.4.12
	Pressure (equipment with sensors only)
	
	

	5.4.13
	Humidity of test gas
	
	

	5.4.14
	Air velocity (diffusion equipment only)
	
	

	5.4.15
	Flow rate (aspirated equipment only)
	
	

	5.4.16
	Warm-up time
	
	

	5.4.17
	Time of response
	
	

	5.4.18
	Time of recovery
	
	

	5.4.19
	Sampling probe
	
	

	5.4.20
	Operation at or below the lower limit of measurement (Type O2-DE only)
	
	

	5.4.21
	Extended operation in test gas (Type TX only)

	5.4.21.1
	Portable equipment
	
	

	5.4.21.2
	Fixed and transportable equipment
	
	

	5.4.22
	Orientation

	5.4.22.1
	Portable equipment
	
	

	5.4.22.3
	Fixed and transportable equipment
	
	

	5.4.23
	Battery capacity for battery-powered equipment

	5.4.23.1
	General
	
	

	5.4.23.2
	Tests 
	
	

	5.4.24
	Power supply variations for externally powered equipment

	5.4.24.1
	General
	
	

	5.4.24.2
	Tests
	
	

	5.4.25
	Electromagnetic immunity

	5.4.25.1
	General
	
	

	5.4.25.2
	Tests
	
	

	5.4.25.3
	Performance criteria
	
	

	5.4.26
	Fault signal tests

	5.4.26.1
	General
	
	

	5.4.26.2
	Low voltage and power interruption
	
	

	5.4.26.3
	Field wiring faults
	
	

	5.4.26.4
	Disruption of digital communication
	
	

	5.4.26.5
	Measured values below zero
	
	

	5.4.26.6
	Sensor disconnection
	
	

	5.4.26.7
	Low flow fault signal for automatically aspirated equipment
	
	

	5.4.27
	Software controlled equipment
	
	

	5.4.28
	Environmental protection

	5.4.28.1
	General
	
	

	5.4.28.2
	Before testing
	
	

	5.4.28.3
	During testing
	
	

	5.4.28.4
	After testing
	
	

	5.4.28.5
	Acceptance
	
	

	5.4.29
	Beam block fault (Type FL-OP and TX-OP except for topographic reflection)

	5.4.29.1
	False alarms
	
	

	5.4.29.2
	Recovery (open path only)
	
	

	5.4.30
	Water vapour interference (Open path only)
	
	

	5.4.31
	Alignment (Open path only except for topographic detectors)
	
	

	5.4.32
	Partial obscuration (Open path only)
	
	

	5.4.33
	Long range operation (Open path only)
	
	

	5.4.34
	Direct solar radiation (Open path only)
	
	

	5.4.35
	Signal intensity variation (Open path topographic reflection only)
	
	

	5.4.36
	Scanning performance (Open path topographic reflection only)
	
	

	

	

	Annex A
(normative)
	Acceptance criteria for Type FL

	Table A.1
	Type FL-Group I
	

	Table A.2
	Type FL-Group II
	

	Table A.3
	Type FL-Group II hydrogen
	

	

	Annex B
(normative)
	Acceptance criteria for Type O2

	Table B.1
	Acceptance criteria for Type O2 equipment (Type O2-DE & Type O2-IN)
	


	Annex C
(normative)
	Acceptance criteria for Type TX

	Table C.1
	Acceptance criteria for Type TX equipment (Type TX-SM & Type TX-HM)
	


	Annex D
(normative)
	Acceptance criteria for Type FL-OP and Type TX-OP

	Table D.1
	Acceptance criteria for Type FL-OP and Type TX-OP
	


	Annex E
(normative)
	Gas specific performance requirements

	Table E.1
	Gas specific performance requirements.
	


	Measurement Section, including Additional Narrative Remarks (as deemed applicable)




