# Control & Verification Checklist for Non-Calibrated Measurement Devices

Verification date:

Verifying person(s):

## 1. Device Information

| Checkpoint | Brief description of performed controls | Control result |  |
| --- | --- | --- | --- |
|  |  | accept | reject |
| DUT identified (ID, type, model, serial number) |  |  |  |
| Reference device identified (ID, calibration certificate number, due date) |  |  |  |
| Reference device calibration certificate is valid Note: Reference device calibration certificate should be attached or referenced |  |  |  |
| DUT is suitable for intended measurement range and application |  |  |  |

## 2. Environmental & Setup Requirements

| Checkpoint | Brief description of performed controls | Control result |  |
| --- | --- | --- | --- |
|  |  | accept | reject |
| Suitability of Environmental conditions (temperature, humidity, vibration) Note: Environmental conditions shall be recorded |  |  |  |
| Any anomalies or limitations |  |  |  |
| The devices sufficient stabilization or warm-up time has been provided. |  |  |  |
| DUT and reference device positioned correctly for comparable measurement |  |  |  |
| Measurement point or setup is consistent throughout testing. |  |  |  |

## 3. Verification Test Steps

| Checkpoint | Brief description of performed controls | Control result |  |
| --- | --- | --- | --- |
|  |  | accept | reject |
| Verification points should be selected across the full operating range |  |  |  |
| Reference reading is recorded for each point |  |  |  |
| DUT reading is recorded for each point |  |  |  |
| Deviations are calculated for both DUT and Reference |  |  |  |
| Deviations are compared against allowable tolerance |  |  |  |
| Multiple repetitions are performed for each point |  |  |  |
| Conformation of Repeatability |  |  |  |

## 4. Acceptance Criteria Evaluation

| Checkpoint | Brief description of performed controls | Control result |  |
| --- | --- | --- | --- |
|  |  | accept | reject |
| All deviations are within allowable tolerance |  |  |  |
| No drift is observed during verification |  |  |  |
| No abnormal or inconsistent measurement behavior is detected |  |  |  |

## 5. Result and outcomes of verification

| Results and actions | Notes and comments |
| --- | --- |
| ☐ DUT approved for continued use (if PASS) |  |
| ☐ Equipment list updated |  |
| ☐ Verification label applied (if PASS) |  |
| ☐ DUT removed from service (if FAIL) |  |
| ☐ DUT labeled as 'Out of Tolerance / Do Not Use'(if FAIL) |  |
| ☐ Sent for calibration/repair/replacement (if FAIL) |  |
| ☐ Impact on past measurements assessed (if required) |  |
| ☐ Verification label applied with date, next due date, technician initials (if PASS) |  |
| ☐ Internal tracking system updated |  |
| ☐ Next verification interval scheduled (if PASS) |  |

Signature of verifier(s):

Date of report: